## Sheet1
Adress | Bit number | Description | Min | Nu | l Max
[HEX] | [DEC]
0x0000 | 0 to 15 | Reserved
0x0001 | 0 to 15 | Reserved
0x0002 | 0 to 15 | Reserved
0x0003 | 0 to 15 | Reserved
0x0004 |  | Command Power suo.
| 0 | Command <Power Off> | 0 |  | 1
| 1 | Command <Power On> | 0 |  | 1
| 2 | Nol used
| 3 | Command <Reset> | 0 |  | 1
| 4 | Command <Rampstart> | 0 |  | 1
| 5 to 14 | Not used
| 15 | Command <Global Off> | 0 |  | 1
0x0005 | 0 to 15 | Reserved
0x0006 | 0 to 15 | Channel Set current | 0x8000 | 0x0000 | 0x7FFF
0x0007 | 0 to 15 | Channel Set Stewrate | 0x0000 | 0x0000 | 0xFFFF
0x0008 | 0 to 15 | Not used
0x0009 | 0 to 15 | Not used
0x000A |  | Statuses Power sun.
| 0 | State <Power on> | 0 |  | 1
| 1 | State <Standbv> |  |  | 1
| 2 | State <Readv> | 0 |  | 1
| 3 | State <All Fault> | 0 |  | 1
| 4 | State <BNC Ramstart> | 0 |  | 1
| 5 | State <Remote> | 0 |  | 1
| 6 lo 13 | Not used | 0
| 14 | State <Busv> | 0 |  | 1
| 15 | State <Ramn Prnnress> | 0 |  | 1
0x000B | 0 to 15 | Outout current readback | 0x8000 | 0x0000 | 0x7FFF
0x000C | 0 to 15 | Outnut voltane readback | 0x8000 | 0x0000 | 0x7FFF
0x000D | 0 to 15 | Outout earth current readback | 0x8000 0x0000 | 0x7FFF
0x000E | 0 to 15 | Set current readback | 0x8000 0x0000 0x7FFF
0x000F |  | Faults 1 Power suo.
| 0 | User 1 | 0 |  | 1
| 1 | User2 | 0 |  | 1
| 2 | User 3 | 0 |  | 1
| 3 | User4 0 |  |  | 1
| 4 | User5 | 0 |  | 1
| 5 | DC overcurent | 0 |  | 1
| 6 | DCCT | 0 |  | 1
| 7 | Earth current | 0 |  | 1
| 8 | Ground fuse | 0 |  | 1
| 9 | AC overcurrent | 0 |  | 1
| 10 | Phase | 0 |  | 1
| 11 | Main contactor | 0 |  | 1
| 12 | Door | 0 |  | 1
0x0010 |  | Faults 2 Power suo.
| 0 | Residual alarm | 0 |  | 1
| 1 | Fuses caoacitors | 0 |  | 1
| 2 | Low freauencv filter choke over-temoerature | 0 |  | 1
| 3 | Hioh-frenuencv transformer over-temnerature | 0 |  | 1
| 4 | Hiah-freauencv filter choke over-temnerature 1 | 0 |  | 1
| 5 | Hiah-freauencv filter choke over-temnerature 2 | 0 |  | 1
| 6 | Heatsink over-temoerature | 0 |  |  | 1
| 7 | Ambiant over-temoerature | 0 |  | 1
| 8 lo 15 | Not used